Ceiling mount for torsion-free

horizontal fastening of sensors with

1" thread on a ceiling

Stainless steel 1.4571, thickness 2 mm

Model:	ZMS 100

Deliver and install incl. all required corrosion-proof

installation materials

Type:............................

Make:.....................

Quantity:  1 Pc.	UP: ..................

TP: ....................

Wall mounting angle for torsion-free

horizontal fastening of ultrasonic sensors with

1" thread on a wall

Distance to sensor center free adjustable

between 50 – 280mm

Stainless steel 1.4571, thickness 2 mm

Model:	ZMS 102

Deliver and install incl. all required corrosion-proof

installation materials

Type:............................

Make:.....................

Quantity:  1 Pc.	UP: ..................

TP: ....................

Wall mounting angle for torsion-free horizontal fastening

of ultrasonic sensors with 1" thread on a wall

or on ZMS 150 or ZMS 151 mounting stand with

supporting plate ZMS 170

Distance to sensor center free adjustable

between 50 – 580mm

Stainless steel 1.4571, thickness 2 mm

Model:	ZMS 108

Deliver and install incl. all required corrosion-proof

installation materials

Type:............................

Make:.....................

Quantity:  1 Pc.	UP: ..................

TP: ....................

Wall mounting angle for torsion-free horizontal fastening

of ultrasonic sensors with 1" thread on a wall

or on ZMS 150 or ZMS 151 mounting stand with

supporting plate ZMS 170

Distance to sensor center free adjustable

between 50 – 980mm

Stainless steel 1.4571, thickness 2 mm

Model:	ZMS 109

Deliver and install incl. all required corrosion-proof

installation materials

Type:............................

Make:.....................

Quantity:  1 Pc.	UP: ..................

TP: ....................

Wall mounting angle for torsion-free

horizontal fastening of ultrasonic sensors with

2" thread on a wall

Distance to sensor center 185 mm

Stainless steel 1.4571, thickness 1.5 mm

Model:	ZMS 120

Deliver and install incl. all required corrosion-proof

installation materials

Type:............................

Make:.....................

Quantity:  1 Pc.	UP: ..................

TP: ....................

Wall mounting angle for torsion-free

horizontal fastening of ultrasonic sensors with

2" thread on a wall

Distance to sensor center: 332 mm and 480 mm.

Stainless steel 1.4571, thickness 2 mm

Model:	ZMS 121

Deliver and install incl. all required corrosion-proof

installation materials

Type:............................

Make:.....................

Quantity:  1 Pc.	UP: ..................

TP: ....................

Ceiling mount angled reflector

Mounting angle for torsion-free vertical fastening

of ultrasonic sensors with 1" thread on a ceiling

Due to the special construction the dead zone of the

sensor can be significantly reduced to approx. 100mm

stainless steel 1.4571, thickness 2 mm

Angle: 	45°

Max. impoundage

height below ceiling:100mm

Model:	ZMS 130

Deliver and install incl. all required corrosion-proof

installation materials

Type:............................

Make:.....................

Quantity:  1 Pc.	UP: ..................

TP: ....................

Wall mounting angle for torsion-free

horizontal fastening of conductive rod probes and

compact echo sounders with 1½" thread on a wall

Distance to sensor center: 185 mm

stainless steel 1.4571, thickness 1.5 mm

Model:	ZMS 131

Deliver and install incl. all required corrosion-proof

installation materials

Type:............................

Make:.....................

Quantity:  1 Pc.	UP: ..................

TP: ....................

Tin cable cover

Tin cover to protect cables laid in water/wastewater

from build-up, soiling and mechanical damage

Suitable to be dowelled onto brickwork, concrete, clinker

and similar channel materials

Stainless steel 1.4571, thickness 0.5 mm

Length:	approx. 1000mm

Max. cable

cross-section:	9mm

Model:	ZMS 140

Deliver and install incl. all required corrosion-proof

installation materials

Type:............................

Make:.....................

Quantity:  1 Pc.	UP: ..................

TP: ....................

Mounting stands

Mounting stand 2" with base plate for torsion-free

fastening of  ZMS 108 or ZMS 109 wall mounting

angles with supporting plate ZMS 170

Height 750 mm

Fastening tube 1.4571, 2"

Base plate 1.4571, thickness 2 mm

Model:	ZMS 150

Deliver and install incl. all required corrosion-proof

installation materials

Type:............................

Make:.....................

Quantity:  1 Pc.	UP: ..................

TP: ....................

Mounting stand 2" with base plate for torsion-free

fastening of  ZMS 108 or ZMS 109 wall mounting

angles with supporting plate ZMS 170

Fastening option for ZMS 160 and ZMS 161

assembly plates at eye level

Height 1700 mm

Fastening tube 1.4571, 2"

Base plate 1.4571, thickness 2 mm

Model:	ZMS/151

Deliver and install incl. all required corrosion-proof

installation materials

Type:............................

Make:.....................

Quantity:  1 Pc.	UP: ..................

TP: ....................

Assembly plates

Mast assembly plate for on-site installation of 1 pc. of

NivuMaster, NivuCont VB or analysis transmitters

Type Monitor on mounting stand ZMS 150 or ZMS 151

Stainless steel 1.4571, thickness 2 mm

Model:	ZMS 160

Deliver and install incl. all required corrosion-proof

installation materials

Type:............................

Make:.....................

Quantity:  1 Pc.	UP: ..................

TP: ....................

Mast assembly plate for on-site installation of 2 pcs. of

NivuMaster, NivuCont Plus, Hydraulic

Calculator Plus or 1 pc. of W10 wall mount enclosure

and 1 pc. of transmitters mentioned above on ZMS 150

or ZMS 151 mounting stand

Stainless steel 1.4571, thickness 2 mm

Model:	ZMS 161

Deliver and install incl. all required corrosion-proof

installation materials

Type:............................

Make:.....................

Quantity:  1 Pc.	UP: ..................

TP: ....................

Supporting plate for torsion-free horizontal fastening

of ultrasonic sensors with ZMS 108 or 109

installation angle on ZMS 150 or 151 mounting stands

Stainless steel 1.4571, thickness 3 mm

Model:	ZMS 170

Deliver and install incl. all required corrosion-proof

installation materials

Type:............................

Make:.....................

Quantity:  1 Pc.	UP: ..................

TP: ....................

Mast assembly plate for installation of 1 pc. of

BSG 12 or BSG 32 overvoltage protection enclosures

on mounting stand ZMS 150 or ZMS 151

Stainless steel 1.4571, thickness 2 mm

Model:	ZMS 175

Deliver and install incl. all required corrosion-proof

installation materials

Type:............................

Make:.....................

Quantity:  1 Pc.	UP: ..................

TP: ....................

Weatherproof covers

Weatherproof cover for protection of evaluation units

from weather influences, suitable for ZMS 160 
assembly plate

Stainless steel 1.4571, thickness 1 mm

Model:	ZMS 180

Deliver and install incl. all required corrosion-proof

installation materials

Type:............................

Make:.....................

Quantity:  1 Pc.	UP: ..................

TP: ....................

Weatherproof cover for protection of evaluation units

from weather influences, suitable for ZMS 161 
assembly plate

Stainless steel 1.4571, thickness 1 mm

Model:	ZMS 181

Deliver and install incl. all required corrosion-proof

installation materials

Type:............................

Make:.....................

Quantity:  1 Pc.	UP: ..................

TP: ....................

Weatherproof cover for protection of deep evaluation 
units such as OCM Pro, NivuChannel and NivuSonic

from weather influences, suitable for ZMS 160 
assembly plate

Stainless steel 1.4571, thickness 1 mm

Model:	ZMS 182

Deliver and install incl. all required corrosion-proof

installation materials

Type:............................

Make:.....................

Quantity:  1 Pc.	UP: ..................

TP: ....................